Project: Shower in Hall Bath

2014

The hall bathroom and shower was reconstructed in about 1999.  The shower was a fiberglass insert.  Over the years the fiberglass held up great.....no issues.....except the staining was not fixable.  This winter my plans were to renovate the back utility porch.  However, the shower needed immediate attention.

The first part of the project was the tear out.  Remove the fiberglass shower.  Before I go further, I need to recommend 'Youtube' for all your DIY projects.  This can be anything from an auto problem, to plumbing, electricity to replacing a shower stall.

The fiberglass insert has a flange around its borders to screw it to the studs.  First, remove about 2 inches of wallboard around the edge of the shower.

This will expose the screws that hold the shower flange to the studs.

Next remove the screws holding the flange to the studs: make sure you get them all.

Next, if you have a sawzall, and you should if you do any self renovation, start cutting the plastic insert in pieces.  I started on the back wall and cut all the way to the bottom.  Then I went sideways.

CAUTION.  When you get to the wall with the plumbing, be extra careful not to cut into a copper pipe.

You will eventually get down to the base.

Goodbye old shower.  Side Note.  In Phoenix we have a trash pick up call "Bulk Trash."  Four times a year they bring heavy equipment and take anything you put on you front lawn.  this can include applicances and furniture.  Since the bulk trash people don't like construction material, you have to break it into small pieces and mix it with the other bulk trash on your lawn.

You will want to first take out the flange that is the seal between the top of the shower hole and the drain.  I used a hammer and chisel.  It is a slim piece of plastic and comes right off.  Once this is done, simple lift the base out of the enclosure.

You now have a bare shower enclosure with everything exposed.

Lift out the base and discard

Cut it into small pieces and hide among the rest of the bulk trash.

Your next challenge is to do something about the old drain system that is welded in place on the drain pipe.  You need to remove this and replace it with the new three piece, made for building a shower pan for tiles.  No doubt, the old shower drain assembly was welded onto the shower drain so you will need to cut the pipe just below the old shower drain fixture.   This can be accomplished with an attachment for your power drill.

Attach the blade to your drill, insert down the drain just below the level where the old drain assembly was welded, and cut from the inside out.  Remove the old assembly.  Next, go to your local hardware store and purchase a small section (one foot or shorter) of 2" pvc pipe and a coupler.

You will replace the old drain assembly with a three piece tile shower drain assembly.  This you will need to purchase at a Home Depot or Lowes.

The bottom part, the drain base is the part you weld to the drain pipe.  Here is where you need to measure correctly.  The top flange of the base must be at least 1/2 inch above your substrate (concrete or plywood.  Cut the pvc pipe to the proper length and assemble.

The base of the three piece shower tile drain has been assembled.  There was a hole around the pipe that needed to be filled in with cement.

The next part is to build in the 'niches' into the side walls.  Our shower project called for three niches.  One tall niche for shampoo bottles, a 12 inch high opening as seen on the right.  The second niche (on the left) is made of two parts.  A lower part for a soap shelf and a second shelf for razors and such.

A liberal amount of silicone is applied around the back joints of the niches.  If you have a large family, especially with a lot of girls, you may want to build niches on all the walls for their 'stuff.'

Next, you will want to make sure your enclosure is plumb: meaning all the studs are even and the sides are the same length.

Here we have a stud that was not flush with the other studs so we added a metal stud to make it flush.

The sides were not plumb so added another stud on the end.

The next task was the floor.  The floor design for tiled showers gets a little involved.  The technical term is building a shower pan.

The next part is putting in the first part of a three part drain.

There are three layers.  Layer one is a flat floor coated with 'floor mud.'   Floor mud is a very sandy cement.  The floor mud is laid flat and up to the lower part of the drain.

The next phase is to install the 40mm PVC shower liner.  This liner prevents water from flowing outside the pan.  Note it is tacked on the sides, 6 or more inches from the floor.

Before we continue with the floor, we need to prepare the walls for the DuRock.  DuRock is like wallboard except it is made of cement.  DuRock is one tough board.  It is far superior to green board that a lot of constructors use in we areas.  A high quality restaurant will use DuRock in the kitchen area.  Imagine a 4 X 8 board, like wallboard, but made of cement.  The cement is held together by a fiberglass mesh on both sides.

It is actually easy to cut.  Similar to wallboard.  Score with a box cutter and break it off.  I suggest using smaller pieces on a wall.  Don't try to put a 3X8 piece onto a side.  Especially if you have water outlets to fit.  A 4 X 8 foot piece of DuRock weighs over 80 pounds and very difficult to handle.

Here we have the top portion of the DuRock  and the shower spray cutout.

This next photo shows the shower control with the nooks cut out.

Here we have the DuRock taped and finished.

The next item was to put a frame on the curb to hold the cement and then apply the cement.

Next, we put on the last layer of cement using guides that insure

everything slopes to the drain.  The guides are made of plastic

and measure from one inch tall down to 1/8 inch in thickness.

Example here.

You pour in the cement and level it from the outside wall and  slope it along the line of the guides.

This sloped floor is now ready for the tile.  You can't see the sloping but it is higher on the edges and gradually slopes down to the drain.  In the tiling process, the floor is the last to be tiled. We will let this cure for a couple of days and then proceed to the next step.

The next step is to build in a corner shelf for a step or a bench.  Many people build a wooden structure but because of the water and steam and the possibility of damage, it was recommended to use a simple cinder block.  Sturdy, easy to install and no moisture worries.  Because the floor is sloping from the outside to the center, it was necessary to grind the bottom of the block at an angle so it would sit evenly on the floor and be level at the top.